## Slide 1
Stay Informed with the
Conference App
Fluoridation – Essential Information for Operators & Managers
Mark J. Bartson, P.E.

## Slide 2: UC San Francisco Oral Health Program - Fluoridation
Mark Bartson, P.E. Mark.bartson@ucsf.edu
Howard Pollick, BDS, MPH – UCSF Dental School Howard.pollick@ucsf.edu
Marjorie Stocks, MPH - Community Outreach Marjorie.stocks@ucsf.edu

## Slide 3: What do we (UCSF) offer?
Help with challenging questions from the public
In-service training & briefings

## Slide 4
Outline
Regulatory requirements
State Water Board field review
Results of UCSF Operator Survey
Training Resources & References

## Slide 5: Essentials for Success
Understand Regulatory requirements
Be aware of specific permit requirements
Have current Operations & contingency plans
Communicate with regulators

## Slide 6
Percentage of population fluoridated water | 
National | 73%
California | 58%

## Slide 7
Flow & Fluoride
Source 1
Water System Schematic

## Slide 8
Flow & Fluoride level
Flow & Fluoride level
Source 1
Source 2
Water System Schematic

## Slide 10: "List of Fully Fluoridated Water Systems – all water is fluoridated”
Optimal amount of fluoride in water
Refer to Consumer Confidence Report (CCR)
Contact your water system for more info….

## Slide 12
Source 2
Water System Schematic
Fluoride treatment system
Fluoride treatment system

## Slide 13
500 gpm @ 0.6 mg/l
1,000 gpm @ 0.1 mg/l
What is the fluoride level?
Zone 1 = 0.5 mg/l (?)
Zone 2 = 0.2 mg/l (?)

## Slide 14
Typical reasons for Partial Fluoridation
Seasonal use of local lources (that are not fluoridated)
Peak demand use of non-fluoridated water
Only the purchased water is fluoridated.

## Slide 15: Mixture of Fluoridated and Non-Fluoridated Water “Partially Fluoridated”
Mixture of water from more than one source
Less than the ideal amount needed
Contact your water system for more info….

## Slide 16
California Statistics | 
Number of community systems | ~2,950
Number that are FULLY fluoridated | 91
Number that are PARTIALLY fluoridated | 79
Percentage of population receiving fluoridated water | 58%

## Slide 17
1. Regulatory Requirements
Review of Regulations
Monitoring & Reporting requirements
Permit requirements
SWRCB system review & approval

## Slide 18
State Regulations on Fluoridation | 
64433 | System Requirements and Exemptions
64433.2. | Optimal Fluoride Levels
64433.3 | Monitoring and Compliance--Fluoride Levels
64433.5 | Fluoridation System
64433.7 | Record-keeping, Reporting, and Notification
64433.8 | Fluoridation System Operations Contingency Plan
64590 | Drinking Water Direct Additives
Notes: The sanitary survey includes an in-office file review and a physical field visit inspection.

## Slide 19: Optimal Fluoridation level State Water Board Current Guidance – Differs from regulation
Optimal level of 0.7 mg/L
Control range of 0.6 ppm to 1.2 ppm
Consistent with Federal Center for Disease Control Guidance
Incorporated as a Water Supply Permit requirement

## Slide 20: Fluoridation Systems
Operate only when a flow of water is detected.
Designed to meet the control range 95 per cent of the time;
Provide for containment of spills; and
Provide alarm features for fluoride chemical feed and fluoride spills.

## Slide 21: Contingency Plans
Fluoride levels in the distribution system are found to be:
      Above the control range
      Above 4.0 mg per liter
      Above 10.0 mg per liter
    The procedures for shutting down the fluoridation if there is an overfeed
  The procedures for investigating the cause of an underfeed or overfeed

## Slide 22: 64590 - Direct Additives
No chemical or product shall be added to drinking water by a water supplier unless … certified as meeting the specifications of NSF International/American National Standard Institute (NSF/ANSI) 60
Notes: The sanitary survey includes an in-office file review and a physical field visit inspection.

## Slide 23: SWRCB Reporting Forms
Monthly Distribution Monitoring
Year-to-Date Distribution Summary
Monthly Treatment Summary
Yearly Treatment Summary

## Slide 24: Types of Fluoridation
1. Fully fluoridated
Partially fluoridated
3. Naturally fluoridated
4. Non-fluoridated

## Slide 25: Water Supply Permit Requirements
Every public water system must have a valid permit
An amendment is required to modify treatment facilities
The permit can be enforced directly
Permit often contains system-specific requirements

## Slide 26
2 - State Water Board Field Review
Physical condition of facilities
Operation & Maintenance
Record keeping
Operator Certification (and training)

## Slide 27: Water System Inspections (Sanitary surveys)
Inspections are a regulatory tool
USEPA requires once every three years
Requirements & Recommendations are provided

## Slide 28: Sanitary survey Elements
Sources of supply
Treatment
Distribution system
Water storage
Pumps and controls
Monitoring, reporting, and data verification
System management and operation
Compliance with operator certification requirements.
Notes: The sanitary survey includes an in-office file review and a physical field visit inspection.

## Slide 29: Sanitary Survey

## Slide 30: Can the operator answer basic questions?

## Slide 31: Evaluation questions (1)
Is there a proper concentration of fluoride in the distribution system at all times?
Does the operator test fluoride concentrations in the system daily?
Does the fluoride concentration vary from day to day?

## Slide 32: Evaluation questions (2)
Does the operator perform testing correctly?
How often does the operator calibrate the testing instrument?
Is the calibration done properly?

## Slide 33: Evaluation of Operator Capability
An operator’s lack of knowledge about the process and equipment is an indication that problems may not be resolved in a timely manner.

## Slide 34: Evaluation of Operator Capability
Management is responsible for ensuring only well-trained staff operate and maintain the fluoridation equipment.

## Slide 35: Evaluation of Operator Capability
Surveyors may consider a lack of knowledge of this key process as a MAJOR deficiency.

## Slide 36
3 – UCSF Operator Survey

## Slide 37: Operator Survey
Developed and carried out by UCSF research team
Survey emailed in Fall, 2023 to over 10,000 public water system contacts
Anonymous survey consistent with UCSF protocols
Analysis of survey is underway – Final report in late 2024
Survey results will help guide Continuing Education

## Slide 38: What resources have you used for continuing education?
Peer reviewed literature
AWWA and other professional journals
Peer to peer communications
Information from the Centers for Disease Control website
Sacramento State Office of Water Programs courses

## Slide 39: Challenges related to fluoridation system
Metering pump issues; saturator clogging
Corrosion of equipment
System design
More training needed on safety, sampling and operation

## Slide 40: Challenges related to fluoridation system
There is a need for more continuing education on water fluoridation.
Existing trainings focus on OSHA regulations.
More comprehensive educational programs are needed

## Slide 41
4 - Training Resources & References

## Slide 42: Essentials for Success
Understand regulatory requirements
Be aware of specific permit requirements
Have current operations & contingency plans
Communicate with regulators

## Slide 43: CDC Online Training Course

## Slide 44: Essential References
SWRCB Permit documents & reviews
AWWA M4 Fluoridation Manual - Principles & Practices
CDC Engineering and Administrative Recommendations
System-specific documents : Operations, Maintenance, Safety

## Slide 45
AWWA Water Fluoridation M4 Manual
Principles & Practices - 6th Edition
“Essential information for decision makers, engineers, and water utility operating personnel”

## Slide 46: AWWA Manual Chapters
Water Fluoridation
Health and the Human Body
Fluoride Products
System Planning
Design, Equipment, and Installation
Operations and Maintenance .
De-fluoridation and Managing Fluoride Levels
Small Systems Considerations
Community Outreach and Communication

## Slide 47: AWWA Manual - Operations
Operational Strategies
Compliance Monitoring
Fluoride (Manual) Ion Specific Electrode (ISE) Method
Colorimetric SPADNS Method
Ion Chromatography
Relative Error
Record Keeping and Documentation
Operator Safety in Handling Fluoride Products

## Slide 48: AWWA Opflow Articles - 2020
Water Fluoridation Basics: What Operators Need to Know
Basics of Water Fluoridation Measurement and Additive Safety
Basics of Water Fluoridation Additive Products
Basics of Water Fluoridation Regulations

## Slide 49: Essential Information - SWRCB
Water Supply Permit Law | https://www.waterboards.ca.gov/laws_regulations/docs/drinking_water_code_2021.pdf
SWRCB Fluoridation Web Page | https://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/Fluoridation.html
Fluoridation Regulations | 64433.3. Monitoring and Compliance—Fluoride Levels.
 | 64433.5. Fluoridation System.
 | 64433.7. Recordkeeping, Reporting, and Notification for Water Systems Fluoridating.
 | 64433.8. Fluoridation System Operations Contingency Plan.
Reporting Forms | https://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/Fluoridation.html

## Slide 50: What do we (UCSF) offer?
Help with challenging questions from the public
In-service training related to fluoridation

## Slide 51: UC San Francisco Oral Health Program - Fluoridation
Mark Bartson, P.E. (707) 318-5461 Mark.bartson@ucsf.edu
Howard Pollick, BDS, MPH – UCSF Dental School Howard.pollick@ucsf.edu
Marjorie Stocks, MPH - Community Outreach Marjorie.stocks@ucsf.edu

## Slide 52: AWWA Fluoridation Policy Statement (continued)
“AWWA supports the application of fluoride in a responsible, effective, and reliable manner that includes monitoring and control of fluoride levels mandated by provincial, state, and/or federal laws and which is subject to community acceptance through applicable local decision making processes. AWWA supports regular reviews of the most current research on fluoride and the positions of the medical and dental communities.”

## Slide 53: AWWA Fluoridation Policy Statement
Supports the recommendations of the World Health Organization (WHO), American Medical Association (AMA), Canadian Medical Association (CMA), Centers for Disease Control (CDC), American Dental Association (ADA), and Canadian Dental Association (CDA), for the fluoridation of public water supplies as a public health benefit…